### ANNEX 1: VENDOR QUALIFICATION QUESTIONNAIRE

#### SECTION A: ORGANIZATION & SAFETY

| Item | Response Required |
| --- | --- |
| Company Name & HQ | [Enter Name & Location] |
| Years in BESS | [Number of Years] |
| Safety Record | Provide TRIR (Total Recordable Incident Rate) and LTIR (Lost Time Incident Rate) for the last 3 years. |
| HSE Manual | Attach the Table of Contents of your Corporate HSE Manual. |
| Statement of Qualifications | Attach your SOQ or equivalent, if available |
| Financial Health | Attach latest audited financial statement or letter of financial standing. |
| Litigation | "Has your company been involved in any material litigation, arbitration, or bankruptcy proceedings in the past 5 years?" |

#### SECTION B: PROJECT REFERENCES

Please list 3 relevant Grid-Scale BESS projects. Prioritize projects with 2-hour+ duration or island locations.

| Detail | Project 1 | Project 2 | Project 3 |
| --- | --- | --- | --- |
| Project Name & Location |  |  |  |
| System Size (MW / MWh) |  |  |  |
| Application | (e.g., GFM, Spinning Reserve) |  |  |
| Chemistry & OEM |  |  |  |
| Completion Date |  |  |  |

#### SECTION C: TECHNICAL SOLUTION & STRATEGY

- Technology: Briefly describe the proposed battery technology (e.g., LFP, Liquid Cooled) and typical container footprint.

- Grid Forming: Describe your experience with Grid Forming inverters and their ability to operate in weak grid/island modes.

- Corrosion Protection: Confirm the corrosion rating of your standard enclosures (e.g., C3, C4, C5-M). How do you handle high-salinity environments?

- Augmentation Strategy: For a 20-year life, describe your approach to capacity maintenance. Does the initial footprint allow for rack additions without new civil works?

- Logistics & Labor: Describe your approach for shipping to Providenciales. Do you have experience securing work permits for technical staff in the Caribbean?

SECTION D: PROCUREMENT MODEL PREFERENCE

Pelican Energy TCI is evaluating multiple procurement strategies, including a full Turnkey EPC model and a Direct Procurement model (Owner-Furnished Equipment with separate installation contract). Please indicate your organization's willingness and capabilities regarding the following structures:

- Direct Supply (Equipment Only):

  - Are you willing to supply the BESS solution (Battery Blocks, PCS, EMS) directly to the Owner without acting as the full EPC?

  - If yes, please describe your preferred Incoterms for delivery to Providenciales (e.g., CIF Port of Providenciales, DDP Site).

- Installation Services (EPC Only):

  - If the Owner procures the BESS equipment directly from a third-party OEM, is your organization willing to act as the Installation Contractor (balance of plant, civil, electrical, mechanical completion)?

- Split-Scope Interface:

  - In a direct procurement model, how do you handle the interface risk and performance guarantees?

  - Specifically, who retains responsibility for final commissioning and system performance testing in a split-scope arrangement?

- Warranty Wrap:

  - Do you offer a "Wrap" warranty option where you take responsibility for total system performance even if the installation is performed by a third party under your supervision?

SECTION D: INDICATIVE PRICING (Budgetary Only)

Provide non-binding estimates in USD. Boundary is Turnkey (EPC), excluding local taxes/duties.

Note: Please provide indicative pricing assuming an Unbundled structure where possible. If there are premiums or discounts associated with bundling Equipment and EPC services (e.g., a "Turnkey Wrap" fee), please indicate this separately.

| Component | Direct Supply Available? (Y/N) | Estimated Cost (USD) | Notes / Inclusions / Exclusions |
| --- | --- | --- | --- |
| 1. Equipment (DDP Provo) |  |  |  |
| 1a. Battery Storage Blocks (DC) |  | $ | Includes Racks, BMS, Containers, Fire Suppression |
| 1b. PCS & MV Transformation |  | $ | Inverters (GFM capable?), MV Transformers (to 34.5kV) |
| 2. Shipping & Logistics |  |  |  |
| 2a. Ocean Freight & Customs |  | $ | DDP Providenciales Port |
| 2b. Ground Transport |  | $ | Port to Site |
| 3. EPC Services |  |  |  |
| 3a. Engineering & PM |  | $ |  |
| 3b. Construction & Comm. |  | $ | Installation, Testing. Exclude Site Pad. |
| 4. Balance of System |  | $ | HVAC, Local SCADA/Controls, Cabling |
| TOTAL INDICATIVE BUDGET |  | $ |  |
| 5. Long-Term Service (LTSA) |  | $/year | Indicative annual maintenance cost |

SECTION E: TIMELINE

- Lead Times: Current estimated lead time for BESS supply (in months)?

- Construction Duration: Estimated time for onsite installation and commissioning?

- Target Completion: If we are targeting early Q2 2027 would your company be able to accomplish that assuming RFP award in June 2026?  Please provide your own timeline specifically (Final Design, Procurement, Shipping, Construction, Commissioning / Testing, Close out).

### ANNEX 2: COMPLIANCE & CERTIFICATIONS CHECKLIST

Please confirm status for the proposed solution.

| Category | Requirement | Status (Yes/No/Comment) |
| --- | --- | --- |
| System Certification | UL 9540: Is the integrated system UL 9540 certified? |  |
| Fire Safety | UL 9540A: Has a full unit-level UL 9540A fire test been completed? (Report will be required in RFP). |  |
| Corporate ISO | ISO 9001: Quality Management Systems |  |
| Corporate ISO | ISO 14001: Environmental Management Systems |  |
| Corporate ISO | ISO 45001: Occupational Health & Safety |  |
| Cybersecurity | IEC 62443 / NERC CIP: Is the control system compliant with relevant cybersecurity standards? |  |
| Environmental | RoHS / REACH: Are battery modules compliant with hazardous substance regulations? |  |
| Enclosure Rating | IP Rating: Minimum IP55 (or higher) for external enclosures? |  |
| Seismic / Wind | Structural: Can equipment withstand local seismic and hurricane wind loads (ASCE 7-16 or equivalent)? |  |